# SOFTWARE DESIGN DOCUMENT (SDD)

Product: E-PU10 V2 Battery Energy Storage System (BESS)
Platform: Beckhoff TwinCAT 3 PLC
Software Version: __________
Document Number: __________
Revision: __________
Date: __________

# 1. Purpose and Scope

This document describes the software architecture, design, communication interfaces, control philosophy, safety functions, and verification approach of the E‑PU10 V2 controller.

# 2. PLC Software Architecture

Project Structure

- PLC Project

  - GVLs

    - GVL

    - Settings

  - Datalogger

  - ErrorHandling

  - EventLogger

  - Functions-FBs-Programs

  - MonitoringControl

    - Enums

    - Structs

    - HMI

    - IoT

    - ProfinetController

    - ControlManager (PRG)

  - Objects

    - 4Grouter

    - ACSwitchgear (clientbox)

    - BMS

    - CoolingSystem

    - DCSwitchgear

    - Enclosure

    - GenComm
HartingIO

    - InterMachineCom

    - InternalPowerSupply

    - NeutralTransformer

    - PeakshaveBox

    - PLCStatus

    - PowerQualityMonitor

    - PowerStack

    - ProtectionSystems

    - WearLogging

  - Safety

  - System

    - GenGridControl

    - PowerControl

  - MAIN_Fast (1ms) (PRG)

  - MAIN_Slow (10ms) (PRG)

# 3. Software Modules

• ErrorHandling: Centralized fault detection and handling.

- Error acknowledge

- Type of error (Error, Fault, Warning)

• EventLogger: Records events, state changes and user actions.

• MonitoringControl: Supervisory control, HMI interaction and monitoring.

• ControlManager: Coordinates operating modes and system state transitions.

• BMS: Battery Management System communication and supervision.

- Define Max and Min Charge / Discharge

- Handles communication to the BMS system via ModbusTCP and exchanges system data.

• PowerStack: PCS/Power Converter interface and power control.

• PeakshaveBox: Peak shaving and energy management functions.

• ProtectionSystems: Protection relay monitoring and trip management.

• GenComm: External communication services (Geneset).

• InterMachineCom: Communication with external equipment/controllers (MQTT).

• PLCStatus: Internal PLC diagnostics and health monitoring.

• Safety: Safety logic and emergency shutdown functions.

• PowerControl: Charge/discharge control algorithms.

• GenGridControl: Grid interaction and dispatch logic.

# 4. Task Architecture

Fast Task (PlcTask)
- Real-time control execution
- Power control
- Safety-critical monitoring
- Device control

Slow Task (MonitorControlTask)
- HMI updates
- Communications
- Data logging
- Diagnostics
- Event processing

# 5. Operational States

Init → Ready → Standby → Charging → Discharging → Fault → Emergency Shutdown

Add state transition diagram here.

# 6. Object-Level Design

BMS:
- SOC, SOH, voltage, current, temperature monitoring
- Battery alarms and faults

PowerStack:
- Active/reactive power commands
- PCS status monitoring

CoolingSystem:
- Thermal management
- Fan and HVAC supervision

ACSwitchgear / DCSwitchgear:
- Breaker and contactor status
- Interlocking logic

ProtectionSystems:
- Relay status
- Protection trips

PowerQualityMonitor:
- Voltage, frequency and power quality supervision

InternalPowerSupply:
- Auxiliary supply monitoring

4Grouter:
- Remote connectivity monitoring

# 7. Safety Design

Safety Program:
- Emergency Stop
- Contactor EDM monitoring
- Critical fault shutdown
- Safe-state transition

Structures:
- ST_Safety_ContactorEDM
- ST_Safety_Get
- ST_Safety_ToSafetyPrg

# 8. Communication Interfaces

BMS: CAN Bus
PCS: Modbus TCP/RTU
HMI: Ethernet
EMS/SCADA: Modbus TCP
IoT/Remote Access: 4G Router and GenComm modules

(Add register maps and protocol details)

# 9. HMI Design

Screens:
- Dashboard
- Battery Overview
- PCS Overview
- Alarms
- Event History
- Trends
- Settings
- Service Menu

(Add screenshots)

# 10. Verification & Validation

- Unit Testing
- Integration Testing
- FAT
- SAT
- Communication Testing
- Safety Verification
- Cybersecurity Verification

# 11. Appendices (To Be Completed)

Appendix A – System Architecture Diagram
Appendix B – State Machine Diagram
Appendix C – Alarm Matrix
Appendix D – Modbus Register Maps
Appendix E – CAN Message Definitions
Appendix F – HMI Screenshots
Appendix G – PLC Task Timing and CPU Load